VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

Introduction

1.	The breakdown of the lump-sum price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This breakdown of the lump-sum price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated:

The breakdown must coincide with the payment-definition chosen in Article 49 of the special conditions: by the tranches specified in Article 49(1)(a) of the special conditions.

2.	The item description given in the breakdown of the lump-sum price in no way limits the contractor’s obligations under the contract to provide all the works described elsewhere.

3.	The prices of the breakdown of the lump-sum price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the contract. Unless separate items are provided in the breakdown of the lump-sum price, prices include all costs involved in the various items of the breakdown.

4.	The lump–sum price and the prices of the breakdown of the lump-sum price are all-inclusive and include any non-exonerated tax or fiscal duty.

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

LOT 1 - Reconstruction of mountain hut Crn Vrv

NB! While preparing the financial offer, tenderers should consider the obligation of preparing and installing a construction info board according to the National legislation. Additionally, the tenderer should plan to purchase and instal a durable plaque clearly visible to the public, presenting the emblem of the European Union in accordance with the technical characteristics laid down in Annex IX of Regulation (EU) 2021/1060. The design of the construction info board and the plaque must be previously approved by the Contracting Authority!

| item | DECSRIPTION | Unit | Unit price EUR | Firm quantity | Total EUR |
| --- | --- | --- | --- | --- | --- |
| GENERAL REMARKS: |  |  |  |  |  |
|  | *All the works foreseen by the project, descriptions and quantities given in the BoQ, should be performed in accordance with the applicable technical standards and rules of the industry, using quality construction material and submitting appropriate quality certificates. |  |  |  |  |
|  | *During the performance of the previous works, pay attention to possible existing installations and protection during work. |  |  |  |  |
|  | *The contractor is obliged to study the project documentation, the descriptions and the BoQ, to locate the manufacturing and installation positions and to formulate the price accordingly. |  |  |  |  |
|  | *During the works, the Contractor is obliged to undertake and implement all the measures of protection provided by law, for the workers, the material and the object. |  |  |  |  |
|  | *For the performance of all concrete elements, all valid legal norms for preparation, installation, care and maintenance of the concrete and formwork must be observed. To apply all the rules and norms during the assembly and disassembly of the construction formwork, depending on the elements that are concreted. When concreting all concrete elements, be careful to leave openings for all the necessary pipes for installations that are installed during the concreting itself in all phases according to the respective projects. |  |  |  |  |
|  | *The prices of the positions should also include the preparatory work on the construction site, such as: fencing, installation and dismantling of temporary buildings and their clearing after the completion of the works, as well as marking of the construction site and all works and documents stipulated by the Law on Construction (articles 61-72), as well as depreciation of tools and fixed assets as well as everything else that forms the final price of each individual position |  |  |  |  |
| CONSTRUCTION PHASE |  |  |  |  |  |
| А | PREPARATORY WORKS |  |  |  |  |
| 1 | Dismantling of existing wooden doors: (Note: along with all connected material and taken to a place indicated by the investor at a distance to a landfill up to 12 km) |  |  |  |  |
|  | External door with dimensions 105x205cm | item |  | 1,00 |  |
|  | Single door with dimensions 90х205cm | item |  | 3,00 |  |
|  | Single door with dimensions 100х205cm | item |  | 1,00 |  |
| 2 | Dismantling of existing wooden windows: (Note: along with all connected material and taken to a place indicated by the investor at a distance of up to 12 km to a landfill) |  |  |  |  |
|  | Double-winged wooden window with dimensions 113х117cm | item |  | 3,00 |  |
|  | Double-winged wooden window with dimensions 119х119cm | item |  | 3,00 |  |
| 3 | Dismantling of an existing linoleum floor (Note: along with all connected material and removal to a place indicated by the investor at a distance to a landfill up to 12 km) | m2 |  | 45,00 |  |
| 4 | Dismantling of the existing floor from wooden planks in the attic to the existing supporting structure (Note: along with all the joined material and taken to a place indicated by the investor at a distance of up to 12 km to the landfill) | m2 |  | 45,00 |  |
| 5 | Dismantling of existing ceilings made of wooden paneling on the ground floor (Note: along with all connected material and taken to a place indicated by the investor at a distance of up to 12 km to the landfill) | m2 |  | 45,00 |  |
| 6 | Dismantling of existing ceilings made of wooden paneling in the attic (Note: along with all the connected material and taken to a place indicated by the investor at a distance of up to 12 km to the landfill) | m2 |  | 100,00 |  |
| 7 | Dismantling of an existing gable roof consisting of a primary load-bearing wooden structure, boarded formwork, transverse and longitudinal battens and roof covering made of saloneite boards and external wooden paneling. (Note: along with all the attached material and taken to a place indicated by the investor at a distance of up to 12 km to the landfill) | m2 |  | 100,00 |  |
| 8 | Demolition of existing damaged AB pavements d=15 cm (Note: along with all the joined material and taken to a place indicated by the investor at a distance of up to 12 km to the landfill) | m2 |  | 15,00 |  |
| 9 | Procurement, transportation and installation of buffer material, crushed stone with a fraction of 0-60 with d=25 cm (applies to the floor slab of gazebos under pavements of a building) | m3 |  | 50,00 |  |
| 10 | Fabrication and installation of a set of drainage installation under the pavement of a building including excavation of a trench 60x40, leveling with lean concrete, installation of ribbed drainage hose f100, installation of geotextile, and filling of the trench with drainage material with a fraction of 20-60mm | m' |  | 20,00 |  |
| 11 | Examination and inspection of the existing electrical installation in the building and putting it into operation, including the change of damaged cables, sockets, distribution board, sockets, etc. | lump sum |  | 1,00 |  |
| 12 | Excavation of soil of the 3rd and 4th categories in wide and narrow scale for field purification, excavation for the foundation of a gazebo, excavation for a sidewalk, excavation for a water canister | m3 |  | 120,00 |  |
|  | Total position A: |  |  |  |  |
| B | COVERING WORKS |  |  |  |  |
| 1 | Procurement, transportation and installation of a wooden roof construction system stool consisting of all the necessary elements: wooden posts, wooden beams, wooden sub-beams, wooden horns and the necessary hands and clamps, board formwork, Para permeable film, transverse and longitudinal slats together with all the necessary material for binding and fastening. The construction should be made according to the foundation of the roof and the given sections | m2 |  | 100,00 |  |
| 2 | Procurement and installation of a roof covering consisting of the following elements: classic clay ceramics of high quality | m2 |  | 100,00 |  |
| 3 | Procurement and installation of clay roof covers | m' |  | 9,50 |  |
|  | Total position B: |  |  |  |  |
| C | TIN WORKS |  |  |  |  |
| 1 | Production and installation of horizontal gutters made of plasticized flat aluminum sheet in color approved by the investor or designer with a thickness of 0.7 mm and a developed width of 50 cm. Complete with all joint material and siliconizing. | m' |  | 20,00 |  |
| 2 | Production and installation of vertical gutters made of plasticized flat aluminum sheet in color approved by the investor or designer with a thickness of 0.7 mm and a developed width of 50 cm. Complete with all joint material and siliconizing. | m' |  | 12,00 |  |
| 3 | Production and installation of wind moldings on a two-gable roof made of plasticized flat aluminum sheet in color approved by the investor or designer with a thickness of 0.7 mm and a developed width of 40 cm. Complete with all joint material and siliconizing | m' |  | 22,00 |  |
| 4 | Procurement, transport and installation of windowsills from the outside made of plasticized aluminum sheet thickness 0.7mm, developed width 40cm. Complete with all joint material and siliconizing. | m' |  | 9,00 |  |
|  | Total position C: |  |  |  |  |
| D | CARPENTRY |  |  |  |  |
| 1 | Manufacturing and installation of external doors made of five-chamber anodized PVC thermal insulation profiles with a wood pattern, filled with a PVC panel according to the investor's choice, opening according to the carpentry scheme |  |  |  |  |
|  | External door with dimensions 105x205cm | item |  | 1,00 |  |
|  | External door with dimensions 90х205cm | item |  | 1,00 |  |
| 2 | Production and installation of external windows made of five-chamber anodized PVC thermal insulation profiles with a wood pattern, thermopane double glass with dimensions 4+16+4 (30dB), 4 season glass should be provided on the outside, Ug coefficient 1.10W/m²K , Uw=1.7W/m²K, filled with Argon gas, UV 35%, solar factor 62.9%, light transmission 80.1%. by opening according to the carpentry scheme |  |  |  |  |
|  | Double-winged window with dimensions 113х117cm | item |  | 3,00 |  |
|  | Double-winged window with dimensions 119х119cm | item |  | 3,00 |  |
| 3 | Procurement and installation of single-wing solid interior doors with dimensions (90/205) cm. made of double-spared wing, massive case and filled with honeycomb. Final treatment: the final treatment is with stain according to ral card for protection and colorless varnish according to the choice of the designer with all previous preparations. The dimensions and opening are according to the designer's schemes. The unit price includes hinges, a regular lock, wrought iron handles and shields, and the installation of the door. All the above elements are at the designer's choice. | item |  | 2,00 |  |
| 4 | Procurement and installation of single-wing solid interior doors with dimensions (100/205) cm. made of double-spared wing, massive case and filled with honeycomb. Final treatment: the final treatment is with stain according to ral card for protection and colorless varnish according to the choice of the designer with all previous preparations. The dimensions and opening are according to the designer's schemes. The unit price includes hinges, a regular lock, wrought iron handles and shields, and the installation of the door. All the above elements are at the designer's choice. | item |  | 1,00 |  |
| 5 | Procurement, transportation and installation of double-winged external window covers - shutters. Made of aluminum and color according to the developer's choice, complete with aluminum trim and frame |  |  |  |  |
|  | Cover for double-winged window with dimensions 113х117cm | item |  | 3,00 |  |
|  | Cover for double-winged window with dimensions 119х119cm | item |  | 3,00 |  |
| 6 | Procurement, transport and installation of single-wing exterior door covers - shutters. Made of aluminum and color according to the developer's choice, complete with aluminum trim and frame |  |  |  |  |
|  | Cover for an external door with dimensions 105x205cm | item |  | 1,00 |  |
|  | Cover for an external door with dimensions 90х205cm | item |  | 1,00 |  |
|  | Total position D: |  |  |  |  |
| E | WALL, CEILING AND FLOOR WORK |  |  |  |  |
| 1 | Treatment of internal walls: dust removal and application of underlay (U-Connection), application of glue and mesh in two layers, and complete caulking around doors and windows with corner molding. (Note: along with all the attached material) | m2 |  | 200,00 |  |
| 2 | Procurement and installation of a final layer of abrasion on internal walls in the color of the investor's choice (Note: along with all connected material) | m2 |  | 200,00 |  |
| 3 | Procurement and installation of a suspended ceiling made of plasterboard boards placed on a substructure | m2 |  | 145,00 |  |
| 4 | Procurement and installation of a final layer of abrib on ceilings made of plasterboard in the color of the investor's choice (Note: along with all the joined material) | m2 |  | 145,00 |  |
| 5 | Procurement and installation of thermo-sound insulation from tervol stone wool on the ceiling of the attic between the load-bearing construction. | m2 |  | 100,00 |  |
| 6 | Production of floors on the ground floor from granite tiles I class, in the color chosen by the pre-octant and the developer, d=0.8 cm min, glued with glue with a 3 mm joint, filled with fugid mass, on an existing substrate. The price includes the production of a plinth with a height of 10 cm with a finishing molding. In the price to take everything described. | m2 |  | 55,00 |  |
| 7 | Procurement and installation of I class granite wall tiles, in the color chosen by the pre-octant and the investor, d=0.8cm min, glued with glue with a 3mm joint, filled with fugid mass, on an existing substrate. In the price to take everything described. | m2 |  | 22,00 |  |
| 8 | Procurement, transportation and installation of granite tiles I class, non-slip for outdoor use with slip coefficient R11, in the color chosen by the pre-octant and the developer, d=0.8 cm min, glued with glue with a 3 mm joint, filled with fugitive mass, on external stairs. The price should include the production of a plinth with a height of 10 cm, together with a final and corner molding. In the price to take everything described. | m2 |  | 30,00 |  |
| 9 | Procurement and transport and installation of a floor made of wooden planks - ship floor in the attic with d=19mm made of spruce, complete with scraping and protection in two layers complete with moldings. | m2 |  | 50,00 |  |
|  | Total position E: |  |  |  |  |
| F | FACADE WORKS |  |  |  |  |
| 1 | Procurement and installation of a composite facade system KSINTI, consisting of a heat-insulating panel made of expanded graphite polystyrene d=10cm, non-flammable and non-expandable EPS-70, 20 kgr/m², complete with plastic dowels for fastening (5 dowels per 1 m² - dowels to be appropriate for the material and thickness of the wall mass). Rabitz mesh (glass fiber fabric) resistant to cracking and impact together with layers of binding mass that will be elastic resistant to stresses, cracking and mechanical damage. Finishing layer of organically bound, mineral, non-cement finishing plasters resistant to weathering, dirt, elastic and resistant to mechanical impacts, with a granulation not greater than 0.5 mm. Use PVC corner moldings with mesh on all right angles. The final treatment should be Abrib with a color of the designer's choice. Clean and prepare the facade walls beforehand. In the price to take all set. | m2 |  | 135,00 |  |
| 2 | Production of Styrodur eaves with d=2cm, complete with all the joined material with dowels and fastening to the existing wooden structure. | m2 |  | 40,00 |  |
|  | Total position F: |  |  |  |  |
| G | CONCRETE WORKS |  |  |  |  |
| 1 | Procurement, transportation and production of AB foundation plate d=15cm for gazebo, reinforcement with Q503 and concreting with MB30, and maintenance of the concrete. | m3 |  | 3,50 |  |
| 2 | Procurement, transport and production of AB pavements d = 15 cm complete with screeding, reinforcement with Q503 and concreting with MB30 with concrete care. | m3 |  | 4,00 |  |
|  | Total position G: |  |  |  |  |
| H | GAZEBO |  |  |  |  |
| 1 | Procurement, transportation and installation of steel anchor plates 20x20x0.8cm with four ribbed reinforcing bars, F12, in a concrete foundation slab. | item |  | 6,00 |  |
| 2 | Procurement, manufacturing, transportation and installation of wooden benches and tables according to a project made of pressed pine wood. The wooden elements are to be protected by deep impregnation with fungicide and insecticide, then they will be coated with a wood primer, based on firnais, for the end. to be painted with water-based wood paint, in a tone chosen by the developer. All coatings should be azure, to preserve the natural structure of the wood. Interconnection is achieved with steel binding angles, hoops, flanges and clamps. |  |  |  |  |
|  | pos.1 bench DETAILED SCHEME | item |  | 1,00 |  |
|  | pos.2 table DETAILED SCHEME | item |  | 1,00 |  |
| 3 | Procurement, manufacturing, transportation and installation of wooden structural elements for the primary and roof construction for four gazebos, made of 2nd class pine wood. The wooden elements will be protected by deep impregnation with fungicide and insecticide, then it will be coated with a wood primer, based on firnais, to finally be painted with water-based wood paint, in a tone chosen by the investor. All coatings should be azure, to preserve the natural structure of the wood. Interconnection is achieved with steel binding angles, hoops, flanges and clamps. | item |  | 1,00 |  |
|  | pos.1 15/15см wooden pole / 6 pieces |  |  |  |  |
|  | pos.2 15/15см wooden beam / 6 pieces |  |  |  |  |
|  | pos.3 10/15см wooden horn 12 pieces |  |  |  |  |
|  | pos.4 10/15см wooden horn 2 / 24 pieces |  |  |  |  |
|  | pos.5 wooden board d=2cm 23m2 |  |  |  |  |
|  | pos.6 4/4cm slat / 192 pieces |  |  |  |  |
|  | pos.7 15/8cm stud/stem / 12 pieces |  |  |  |  |
|  | pos.9 shingles 23m2 |  |  |  |  |
|  | Total position H: |  |  |  |  |
| I | OTHER WORKS |  |  |  |  |
| 1 | Supply, transport and installation of ready-made portable outdoor toilet Certification: CE, ISO9001, SGS, Color: according to investor's choice Floor: MGO Board/fiber cement board Wall panel: EPS/ stone wool sandwich panels Window: aluminum window Door: Security door with galvanized baking paint | item |  | 1,00 |  |
| 2 | Procurement, transportation and installation of a clean water tank f1500 of 2000 liters for underground installation complete with plastic cover with gasket rubber for waterproofing, plastic cover fixed with screws, cover load capacity of 200kg, inlet-outlet adjusted according to the needs of the developer from DN50 to DN200, to have additional equipment: filters, pumps, three types of cover. | item |  | 1,00 |  |
| 3 | Procurement, transportation and installation of a 3500W gasoline generator with a continuous power of 2600 watts and a maximum power of 3100 watts with a 4-stroke engine. A minimum of two 230V sockets including a voltmeter indicating the voltage to convert the power supply. Tank min 15 liters. | item |  | 1,00 |  |
| 4 | Procurement, transport and installation of single wooden beds made of beech wood with a dimension of 90x200cm, including a mattress. | item |  | 8,00 |  |
| 5 | Procurement, transportation and installation of a kitchen with a length of 300 cm made of refined chipboard and a watertight tabletop according to the investor's choice, the kitchen to be divided into 5 equal parts of 60 cm each with 5 doors of refined chipboard that open. The construction should also include the installation of an aluminum sink with dimensions of 40-60 cm. The price includes a set with all connecting elements. | m' |  | 3,00 |  |
| 6 | Supply and transport of table The top of the table should be made of refined chipboard with a minimum thickness of 25mm (color at the choice of the investor) dimensions minimum 120 x 80 x h75 cm Laterally protected by an ABS strip with a min. thickness of 2 mm. Legs made of steel box-profile with a minimum width of 600mm in gray color RAL 9006 Connecting beam: -steel profile: minimum 62*84mm electrostatic powder painting to order according to RAL 9006 gray Length of tied element minimum 120cm. | item |  | 4,00 |  |
| 7 | Procurement and transport of chair with features: • Made of metal oval profile (30 x 15 x 2) • metal construction in color-black electrostatically painted with powder paint to protect against corrosion • seat with dimensions 45-47 x 40-42 and backrest with dimensions 45-47 x 34-35 made of laminated wood. • with plastic covers on the metal seat and backrest, • leg protectors to protect the floor • for maximum weight of the user up to 120 kg | item |  | 30,00 |  |
| 8 | Procurement, transport and installation of a wall hanger made of planks Made of pine or steamed beech with a thickness of 2 cm Length 100 cm. Varnished with two-component varnish. With 5 double aluminum hangers. Wall mounting system/mechanism. | item |  | 5,00 |  |
| 9 | Production, transportation and installation of a closet with shelves with dimensions of 190/80/40cm, made of high quality 16mm thick plywood edged with ABS edging. The upper part should have compartments for 15 diaries. The background behind the logs should be made of chipboard with a thickness of at least 16 mm. In the upper and lower part of the element, there should be 2 opening doors with flap hinges for soft closing. The background of the element with flaps should be made of hardboard with a thickness of min. 3mm. Each of the doorknobs should have one aluminum handle. From the bottom with a plinth with a height of 10 cm. | item |  | 30,00 |  |
| 10 | Production, transportation and installation of a closet with shelves with dimensions of 100/90/45cm, made of high quality 16mm thick plywood edged with ABS edging. In the upper and lower part of the element, there should be 2 opening doors with flap hinges for soft closing. The background of the element with flaps should be made of hardboard with a thickness of min. 3mm. Each of the doorknobs should have one aluminum handle. From the bottom with a plinth with a height of 10 cm. | item |  | 8,00 |  |
| 11 | Procurement and installation of fire extinguishers |  |  |  |  |
|  | type S9 | item |  | 3,00 |  |
|  | type CO2 - 5 kg | item |  | 1,00 |  |
| 12 | Procurement, transport and delivery of bedding for a single bed 200x90, complete with sheet, blanket and memory pillow | item |  | 12,00 |  |
| 13 | Procurement, transportation and delivery of first aid kits | item |  | 6,00 |  |
| 14 | Procurement, transportation and delivery of dining sets including 12 forks, 12 spoons, 12 knives, 12 ceramic plates. They must be made of stainless steel | item |  | 3,00 |  |
|  | Total position I: |  |  |  |  |
| J | ACCESS PATH |  |  |  |  |
| 1 | Excavation of soil of the 3rd and 4th category in a wide and narrow scope for an access path. | m3 |  | 20,00 |  |
| 2 | Procurement, transportation and installation of buffer material, crushed stone with a fraction of 0-60 with d=25cm. Including layering. | m3 |  | 80,00 |  |
|  | Total position J: |  |  |  |  |

| K | MOUNTAINEERING EQUIPMENT |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 | Purchase and transport of a 4-season tent designed for two people. The outer layer is made of 100% recycled polyester ripstop 70D, 85 g/m2, with a polyurethane layer, aluminized and with thermal insulation characteristics, it is waterproof with a column of 3000 mm. The breathable inner layer is made of 100% recycled polyester ripstop 70D, 55 g/m2, water-repellent and breathable. Floor - 100% recycled polyester ripstop minimum 70D, 95 g/m2, which has been treated with a polyurethane layer for thermal insulation, and water resistance with a pillar minimum 8000mm. The corners of the floor are reinforced with a 3-layer construction. Bars: Made from 7001 T6 aluminum - light, durable and flexible. Dimensions: (100+220)x150/110 | item |  | 20,00 |  |
| 2 | Procurement and transport of a hammock made of extra light parachute canvas with a load capacity of 200 kg. Packed weight from 600g to 1000g. Min distance from hook-to-hook 320cm. | item |  | 15,00 |  |
| 3 | Procurement and transport of telescopic aluminum hiking poles. | item |  | 20,00 |  |
| 4 | Purchase and transport of a sleeping bag. Comfort temperature + 10°C to + 6°C, Extreme temperature -7°C. Material: Polyester, panji and hollow fiber, Dimensions: 220 x 75 x 50 cm. Complete with carrying bag. | item |  | 15,00 |  |
|  | Total position K: |  |  |  |  |
| L | HIGH VOLTAGE INSTALLATIONS |  |  |  |  |
|  | This bill of quantities and calculation provides for the dismantling of existing equipment and the complete delivery of all required material, listed in the items and other unspecified material, which is required for complete construction, connection, testing and commissioning and the delivery of all necessary certificates. The material used should be of high quality and comply with applicable standards and regulations. Note: “or equivalent” applies to all equipment provided. The bill of quantities is complementary to the drawings. |  |  |  |  |
| 1 | Procurement and installation of a main wall-mounted distribution board for supplying the building with electricity, GRT, for wall mounting, with dimensions 400x600x250mm, with protection level IP40 | item |  | 1,00 |  |
| 2 | Procurement and installation of Feed switch 2P, 32A 300ma | item |  | 1,00 |  |
| 3 | Procurement and installation of a single-pole comb switch 1,0,2 16A, 2P for DIN rail mounting | item |  | 1,00 |  |
| 4 | Procurement and installation of a single-pole base for NV0 foot fuse complete with 32A cartridge | item |  | 1,00 |  |
| 5 | Procurement and installation of single-pole automatic fuse B16A 1p, 10kA IEC/EN 60947-2 | item |  | 9,00 |  |
| 6 | Procurement and installation of single-pole automatic fuse B10A 1p, 10kA IEC/EN 60947-2 | item |  | 4,00 |  |
| 7 | Procurement and installation of a single-pole strip (comb) 63A, L=1m | item |  | 1,00 |  |
| 8 | Procurement and installation of ceiling light fixture, LED 220x220mm; 18-20W, 4000K, paid for complete installation | item |  | 8,00 |  |
| 9 | Purchase and installation of a single-pole switch | item |  | 3,00 |  |
| 10 | Procurement and installation of a serial switch | item |  | 3,00 |  |
| 11 | Procurement and installation of a single-pole wall socket | item |  | 5,00 |  |
| 12 | Procurement and installation of a double single-pole wall socket | item |  | 8,00 |  |
| 13 | Procurement and installation of cable PP-Y (NYM) 3x4mm2 Uo/U=300/500V | m |  | 5,00 |  |
| 14 | Supply and installation of cable PP-Y (NYM) 3x2.5mm2 Uo/U=300/500V | m |  | 100,00 |  |
| 15 | Procurement and installation of cable PP-Y (NYM) 3x1.5mm2 Uo/U=300/500V | m |  | 90,00 |  |
| 16 | Procurement and installation of galvanized FeZn strip 25x4 mm, for protective grounding | m |  | 5,00 |  |
| 17 | Cross piece type MKS.N.B4.936 for joining a strip to a strip when crossing them | item |  | 10,00 |  |
| 18 | Procurement and installation of a protective earthing probe made of galvanized steel rod with dimensions f60mm and length 2m. Complete with a cross connector welded to the probe | item |  | 1,00 |  |
| 19 | Measuring the correctness of the protective grounding performed and compiling a report on it along with issuing an "A"-test for correctness by an authorized and licensed company | lump sum |  | 1,00 |  |
|  | PHOTOVOLTAIC SOLAR SYSTEM |  |  |  |  |
| 1 | Procurement, transport and installation of a photovoltaic independent solar system for powering the building with electricity (solar panels are placed on a tin roof) with the following equipment: |  |  |  |  |
|  | Solar panel 380w with monocrystalline half-cut cells - items 6 Charge controller 40A - items 3 Battery "deep charge" 6V/240Ah - items 8 | item |  | 1,00 |  |
|  | Total position L: |  |  |  |  |
|  | NOTE: To attach certificates for all built-in materials, i.e. to choose the most adequate ones for the reconstruction of this type of building |  |  |  |  |
|  | NOTE: Since we are talking about the rehabilitation of an existing building, it is possible that other unforeseen things may occur during construction. |  |  |  |  |

| CONSTRUCTION AND EQUIPMENT RECAPITULAR |  | Amount in EUR |
| --- | --- | --- |
| A | PREPARATORY WORKS |  |
| B | COVERING WORKS |  |
| C | TIN WORK |  |
| D | CARPENTRY |  |
| E | WALL, CEILING AND FLOOR WORK |  |
| F | FACADE WORKS |  |
| G | CONCRETE WORKS |  |
| H | GAZEBO |  |
| I | OTHER WORKS |  |
| J | ACCESS PATH |  |
| K | MOUNTAINEERING EQUIPMENT |  |
| L | HIGH VOLTAGE INSTALLATIONS |  |
|  | Total: |  |
|  | VAT 18%: |  |
| LOT 1 | Total lump-sum price (with VAT): |  |

Tenderer:

___________________________

LOT 2 - Establishing a multipurpose recreation playground around Lake Gradche

NB! While preparing the financial offer, tenderers should consider the obligation of preparing and installing a construction info board according to the National legislation. Additionally, the tenderer should plan to purchase and instal a durable plaque clearly visible to the public, presenting the emblem of the European Union in accordance with the technical characteristics laid down in Annex IX of Regulation (EU) 2021/1060. The design of the construction info board and the plaque must be previously approved by the Contracting Authority

| Item | DECSRIPTION | Unit | Unit price EUR | Firm quantity | Total EUR |
| --- | --- | --- | --- | --- | --- |
| 1. EARTHWORKS |  |  |  |  |  |
| 2 | Planning and clearing the terrain and marking the building with staking P=1296.75 | m² |  | 1.296,75 |  |
| 3 | Mechanical wide earth excavation 1296.7x0.44 loading and transporting the material to the nearest landfill max-10km | m³ |  | 570,60 |  |
| 4 | Machine compaction of the subsoil by rolling only on the playing field | m² |  | 1.083,75 |  |
| 5 | Machine narrow earth excavation for foundation strips and drainage ditch 70% loading and transport of the material to the nearest landfill max-10km | m³ |  | 192,20 |  |
| 6 | Manual digging and leveling of drainage trench 30% and loading and transport to landfill | m³ |  | 108,50 |  |
| 7 | Manual excavation for single foundations for reflector poles loading and transport of the material to the nearest landfill max-10km | m³ |  | 8,73 |  |
| 8 | Manual excavation for an access path from behaton loading and transport to the nearest landfill max-10km | m3 |  | 1,40 |  |
| 9 | Earth filling after concreting the foundations and around the building, with earth filling in layers of 25-30 cm with compactors to the required compaction of module 60 Mpa around foundation strips | m³ |  | 16,94 |  |
| 10 | Procurement, transport and installation of polypropylene geotextile of 200g/m2 before filling gravel under the entire terrain | m² |  | 1.020,66 |  |
| 11 | Procurement, transportation, and installation of 125g/m² polypropylene geotextile prior to backfilling in a drainage trench | m² |  | 494,83 |  |
| 12 | Procurement, placing, and compacting of gravel in layers, with compaction to achieve a required modulus of 60 MPa beneath foundation strips measuring 71.91 x 0.2 meters | m³ |  | 14,38 |  |
| 13 | Procurement, piling and rolling of gravel in layers, with compaction to the required compaction modulus of 60MPa under single foundations 0.3x1.2x4 | m³ |  | 1,73 |  |
| 14 | Procurement, placement, and compaction of subbase material with crushed stone 0-63 under asphalt pavement, compacted to achieve the required density of 70 MPa, thickness of 35 cm, on a slope of 0.5%-1%, area 1020.66 m² | m³ |  | 357,23 |  |
| 15 | Procurement, transportation, and spreading of a layer of sand at the bottom of the drainage trench with a thickness of 10 cm, area 142x1.4x0.1 m. | m³ |  | 19,88 |  |
| 16 | Procurement, placement, and compaction of gravel in layers for a drainage trench with gravel size 8-12 mm, thickness 50 cm, on a slope of 0.5%-1%. | m³ |  | 90,30 |  |
| 17 | Procurement and layering of sand in a drainage trench with gravel size 4-8 mm, thickness of 50 cm, on a slope of 0.5%-1%. | m³ |  | 90,30 |  |
| 18 | Procurement, placement, and compaction of sand, particle size 0-4 mm, as a base for a perimeter path paved with behaton, following prior placement of gravel drainage, particle size 0-4 mm, thickness 40 cm | m³ |  | 79,50 |  |
| 19 | Procurement, placement, and compaction of sand, particle size 0-4 mm, as a base for an access pathway paved with behaton, following prior compaction of soil measuring 0.08 x 2.5 x 4.00 meters. | m³ |  | 0,80 |  |
| 20 | Sterilization of the field with means to prevent the growth of weeds and the development of insects | m² |  | 1.296,75 |  |
|  | TOTAL POS.1 |  |  |  |  |
| 2. CONCRETE AND REINFORCEMENT |  |  |  |  |  |
| 1 | Procurement, transport and installation of concrete in structures with necessary formwork and support |  |  |  |  |
| 1.1 | Reinforced foundations, MB 30 in required formwork, strip foundations 71.90x0.85 | m³ |  | 61,12 |  |
| 1.2 | Individual foundations for lighting reflector poles, 1.20 x 1.20 x 1.40 meters each, quantity 4. | m³ |  | 8,06 |  |
| 1.3 | Individual foundations for lighting reflector poles, 1.20 x 1.20 x 1.40 meters each, quantity 4. | m³ |  | 1,80 |  |
| 2 | Lean concrete MB10 |  |  |  |  |
| 2.1 | Individual foundations for floodlight poles 1.20x1.20x0.10 x 4 | m³ |  | 0,57 |  |
| 2.2 | Foundation strips 71,90x0,10 | m³ |  | 7,19 |  |
| 2.3 | Individual foundation for tennis net installation 0,37x4x0,10 | m³ |  | 0,15 |  |
| 3 | Procurement, cutting, bending and installation of concrete iron RA 400/500 | kg |  | 1.530,00 |  |
| 4 | Anchors M20 | piece |  | 32,00 |  |
| 5 | Anchors M20 | piece |  | 32,00 |  |
|  | Total POS 2 |  |  |  |  |

| 3. ASPHALT WORKS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 | Asphalting of base layer d=5cm BNS 22 / slope min 0.5% max 1% | m² |  | 1.083,75 |  |
| 2 | Asphalting of base layer d=3cm / AB 8mm / slope min 0.5% max 1% | m² |  | 1.083,75 |  |
|  | Total POS. 3 |  |  |  |  |
| 4. METAL - LOCK WORKS |  |  |  |  |  |
|  | Procurement, transport, manufacturing and installation of the fence around the fields according to the project, by: |  |  |  |  |
| 1 | Filled with universal wire steel plasticized mesh - approx 50/50mm Ф=2.0mm with dark green color fixed (maximum tension) with metal galvanized clamps (taken area without waste) | m² |  | 545,56 |  |
| 2 | Double-wing entrance door 215/190 made of Fe profile 50/50 with filling of universal wire steel plasticized mesh oksa 50/50mm Ф=2.0mm with locking lock | piece |  | 1,00 |  |
| 3 | 1. Procurement, transport, manufacturing and installation of: Fence made of iron box profiles 100/80/4 anchored in foundation strips H=400 and 500 cm. Minimized and grease-painted in two layers in dark gray color, fence posts Fe box profile 100/80/4 mined and grease-painted in two layers in dark gray color (see construction details) 2. Posts for reflectors iron profiles f219 with narrowing from f101,6 and H=12m with anchor tiles (according to detail) quantity - 4 are lead coated and grease painted in two layers in dark gray color 3. Posts for baskets Fe f160 with plate 400.400.10 per detail quantity - 4 are lead coated and painted in two layers in dark gray color | kg |  | 9.770,00 |  |
|  | Total POS.4 |  |  |  |  |
| 5. EQUIPMENT FOR MULTIFUNCTIONAL PLAYGROUND |  |  |  |  |  |
| 1 | Procurement, transport and installation of metal benches made of perforated steel sheet with two seats and a backrest. In dark green color Fig.1 | piece |  | 4,00 |  |
| 2 | Procurement and installation of a trash can (fixed on a pole) Fig. 2 | piece |  | 2,00 |  |
| 3 | Procurement and installation of a free-standing goal with a goal net with all binding elements and dimensions according to IHF standards goal bar Fig.3 | piece |  | 2,00 |  |
| 4 | Procurement and installation of a fiberglass basketball board with hoop and net and all binding elements according to FIBA ​​standards Fig.4 | piece |  | 4,00 |  |
| 5 | Procurement and installation of polyethylene wind canvases with printed inscriptions on one side in 4 colors up to 2m high | m² |  | 135,00 |  |
| 6 | Purchase of handball balls that meet IHF ​​standards | piece |  | 4,00 |  |
| 7 | Purchase of basketball balls that meet FIBA ​​standards | piece |  | 4,00 |  |
| 8 | Purchase of soccer balls that meet FIFA ​​standards | piece |  | 4,00 |  |
| 9 | Waste Bin Supply of materials, manufacturing, transportation, and installation or supply, transportation, and installation of a waste bin with dimensions 50/50/82 cm, made of a steel structure with a profile of 40/40/3 mm, a box made of tin with a thickness of 0.8 mm, which is covered with treated wooden planks with a profile of 120/21 mm. The structure must be anchored to a concrete foundation MB30 with dimensions 30/30/40 cm. The waste container should be made of galvanized tin with a thickness of 0.5 mm. The bin must have a finished lid made of tin with a thickness of 3 mm, with dimensions 500/500 mm and an opening of Ф300 mm. The structure should be lead painted and painted with graphite paint. (according to the drawing) The color of the wooden part and the structure is defined by the investor. | piece |  | 3,00 |  |
| 10 | Gazebo Construction of a hexagonal canopy, with the height of the lowest part at 2.4 m and at the center 3 m. Made of metal profiles—6 columns of 8x8 cm with a mutual distance of 218 cm, placed on an AB slab, thickness 15 cm, MB30, and a roof structure in the shape of a hexagon with sides of 296 cm made of profiles 5x8 cm and smaller profiles for supporting OSB boards, covered with OSB boards of 11 mm thickness and topped with Canadian shingles (dark green). The profiles are first protected with a corrosion-resistant agent and then painted with anthracite. A metal seating structure should be made along the entire length at the base, allowing for entry, meaning the hexagon should serve as a seating area and have horizontal pipes for support. For seating, there should be 4 treated planks of 8x5 cm, and on the back 2 of 12x5 cm. All painted with Sandolin and lacquered in two coats. In the middle, a table in the shape of a hexagon should be constructed with a height of 80 cm, as well as a wooden tabletop, sized according to the drawing. | piece |  | 2,00 |  |
| 11 | Park Benches with Tables Supply of materials, manufacturing, transportation, and installation of park benches with tables, with dimensions and shape defined according to the technical drawing (attached). The supporting structure should be made of metal with a profile of 4x4 cm, coated with a corrosion-resistant agent and painted in a color of the investor's choice, and it should be anchored to a concrete foundation MB30 with dimensions 30/30/40 cm. Wooden planks of 5x8 cm for seating and a tabletop made of sawn timber should be placed on the structure, crafted through cutting, milling, planing, screwing, staining, and varnishing with boat varnish in a minimum of 2 coats | piece |  | 9,00 |  |
|  | Total POS. 5 |  |  |  |  |
| 6. OTHER WORKS |  |  |  |  |  |
| 1 | Construction of a roundabout and access path from 10/20/6cm bechaton elements with final edge elements by pouring the asphalt joint with concrete | m² |  | 213,00 |  |
| 2 | Construction of drainage with prefabricated small channels for surface drainage of atmospheric water smoke 40/40/10cm | m |  | 134,40 |  |
| 3 | Procurement and installation of illuminated advertising boards made of plexiglass 200x80 with all necessary fastening elements and all necessary electrical elements | piece |  | 1,00 |  |
| 4 | Cleaning of the facility during construction and after completion of the works | Lump sum |  | 1,00 |  |
| 5 | Marking of the handball and basketball court with quality asphalt paint | Lump sum |  | 1,00 |  |
|  | Total POS.6 |  |  |  |  |
| 7. ELECTRICAL INSTALLATIONS |  |  |  |  |  |
| 1 | Excavation of a trench in category III and IV ground for the construction of a route in which FeZn 30x4mm will be laid. The trench should be 0.4m wide at the bottom and 0.8m deep. After the excavation is completed, fine river sand or loam soil is sprinkled in a layer of 10 cm. before laying and 10 cm after laying the cable. After laying the cable, loose earth is sprinkled in a layer of 10 cm with compaction. A GAL shield is placed on the cable and a thermoplastic warning tape "CAUTION ENERGY CABLE" is laid 40 cm from the cable and after laying the tape the trench is filled with the basic material | m |  | 154,00 |  |
| 2 | Delivery and installation of an external separate cable cabinet RO-4 made of double-decaled sheet metal, one-piece with degree of protection IP54 for installation on a concrete foundation with openings for the entry and exit of power cables. The exact dimensions will be determined after the production of the assembly drawings, taking into account that 10% spare dimensional space will remain. In the closet will be installed: |  |  |  |  |
|  | three-pole socket for fuses NV-0-125/ | piece |  | 7,00 |  |
|  | fuses NV 0 125/32A | piece |  | 3,00 |  |
|  | fuses NV 0 125 /25A | piece |  | 12,00 |  |
|  | fuses NV 0 125/16A | piece |  | 6,00 |  |
|  | fuses B10A-1p | piece |  | 1,00 |  |
|  | fuses B16A-1p | piece |  | 8,00 |  |
|  | fuses C6A-1p | piece |  | 1,00 |  |
|  | switch DPX 3P In=125A, It=32A | piece |  | 1,00 |  |
|  | cam clutch БС - 10 - 52 У | piece |  | 4,00 |  |
|  | cam clutch БС - 10 - 51У | piece |  | 2,00 |  |
|  | contactors CN |  |  |  |  |
|  | CN -20; 380V | piece |  | 2,00 |  |
|  | CN -25; 380V | piece |  | 4,00 |  |
|  | CN-10; 220V | piece |  | 2,00 |  |
|  | timer | piece |  | 1,00 |  |
|  | overvoltage protection | piece |  | 1,00 |  |
|  | additional equipment for reflectors pre-connected handle B1000HI/HS | piece |  | 8,00 |  |
|  | capacitors 40mF | piece |  | 16,00 |  |
|  | for everything complete with making a foundation, built-in pipes Ф 60 - 5 and installation of a cabinet is paid per piece | piece |  | 1,00 |  |
| 3 | Procurement, delivery and laying of energize cable type NAYY-4X25 mm 2+16mm2. The cable is laid in a trench in the ground (from the previous position) connecting in RO-4 and RO on a lamp post. It is paid per meter | m |  | 60,00 |  |
| 4 | Procurement, delivery and laying of energized cable type NYY-J-3X4 mm2. The cable is laid in a trench in the ground (from the previous position) by connecting RO-4 and a lamp. It is paid per meter. | m |  | 360,00 |  |
| 5 | Procurement, delivery and laying of galvanized tape FeZn30x4 mm in the same trench, parallel to the energy cable from the previous position for grounding the poles. It is paid per meter | m |  | 160,00 |  |
| 6 | Installation of rigid plastic pipe F63 with length L=6m is paid per piece | piece |  | 4,00 |  |
| 7 | Installation of anchor bolts supplied with the poles and plastic hoses F50 L=2m for cable entry and exit. Everything ready for work is paid per piece | piece |  | 4,00 |  |
| 8 | Delivery and installation of a bracket with end lengths of 3 meters, made of heavy-duty profile 60x60mm according to detail A drawing No. 5, is paid per piece. | piece |  | 4,00 |  |
| 9 | Delivery and installation of a 1000W HID reflector, complete with igniter and metal halide bulb. Payment is per unit for the entire set. The origin of the components must be EU or USA. | piece |  | 8,00 |  |
| 10 | Testing of the installation with issuance of necessary certificates and commissioning. | lump sum |  | 1,00 |  |
|  | GROUNDING OF A FENCE |  |  |  |  |
| 11 | Procurement, delivery, and installation of galvanized strip FeZn30x4 mm in a trench designated for grounding the fence. Payment is per meter. | m |  | 248,00 |  |
| 12 | Manufacturing of a joint for the foundational grounding conductor with a metal fence, executed with MKC.NB.4 932. Payment is per number of joints. | num |  | 12,00 |  |
| 13 | Examination of an installation by measuring ground resistance and issuance of a report by a licensed institution | lump sum |  | 1,00 |  |
|  | Total POS.7 |  |  |  |  |
| 8. ATMOSPHERIC SEWERAGE |  |  |  |  |  |
| 1 | Procurement, transportation and installation of drainage pipes corrugated pipes F200 with triple angular perforation angle of 120° with all necessary joint and sealing material | m |  | 136,00 |  |
| 2 | CONCRETING WORKS |  |  |  |  |
| 2,1 | Construction of inspection manholes 110/110/187 cm from compacted concrete MB30 with the manufacture of formwork plastered from the inside with cement mortar 1:2 and installation of the required number of concrete iron ladders Ф18 mm from the top to cover the manhole with a cast cover with a light opening F60 light type. Double reinforced with mesh reinforcement Q188 | piece |  | 1,00 |  |
| 2,2 | Production of revision manholes 110/110/204 cm from compacted concrete MB30 with the manufacture of formwork plastered from the inside with cement mortar 1:2 and installation of the required number of concrete iron ladders Ф18 mm from the top to cover the manhole with a cast cover with light aperture F60 light type. Double reinforced with mesh reinforcement Q188 | piece |  | 1,00 |  |
| 2,3 | Production of inspection manholes 110/110/260 cm from compacted concrete MB30 with the manufacture of formwork plastered from the inside with cement mortar 1:2 and the installation of the required number of concrete iron ladders Ф18 mm from the top to cover the manhole with a cast cover with light aperture F60 light type. Double reinforced with mesh reinforcement Q188 | piece |  | 1,00 |  |
|  | Total POS. 8 |  |  |  |  |
|  | 9. PROCUREMENT OF A PEDAL BOAT |  |  |  |  |
| 1 | Procurement of pedal boats for 4 persons Material: Rotomolded polyethylene Length: min. 280 cm Width: min. 150 cm Weight: max 120 kg Persons: min. 4 persons Min. Load: 500 kg Equipment: Min. 4 x seats 1 x control paddle Min. 4 x pedals One captain’s horn 2 x paddle wheels The attached image is for informational purposes only. The offered PEDAL BOAT can be in any shape and color. | num. |  | 2,00 |  |
|  | Total POS. 9 |  |  |  |  |

| RECAPITULAR |  | Amount in EUR |
| --- | --- | --- |
| 1 | Earthworks |  |
| 2 | Concrete and reinforcement |  |
| 3 | Asphalt works |  |
| 4 | Metal lock works |  |
| 5 | Equipment for multifunctional playground |  |
| 6 | Other works |  |
| 7 | Electrical installations |  |
| 8 | Atmospheric sewerage |  |
| 9 | Procurement of pedal boats |  |
|  | TOTAL |  |
|  | VAT18% |  |
| LOT 2 | Total lump-sum price (with VAT) |  |

Tenderer:

___________________________